## Sheet1
Proceptor Grease Interceptor Sizing Worksheet
(for Commercial Use Only)
Project Name: | [7 empty] | Date: | 2019-04-30
Project Location:
Engineering Firm: | [5 empty] | Engineer:
Please fill in or select the appropriate information in the highlighted areas. If the application is industrial or you have questions about this form, please contact your local representative. Sales Rep information is available at http://zurngtg.com/rep-finder-us.php
SELECT AND COMPLETE ONLY ONE MODULE SECTION
Zurn Green Turtle Sizing Method Module
Fixture and Dishwasher Information
| Fixture Description | Number of Fixture Compartments | Is the effluent emulsified? | Length | Width | Height | Output Volume (Gallons) |  | Proceptor Sizing to meet 100ppm
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
| Mop Sink | [5 empty] | 0 |  | 0
| Floor Drain | [5 empty] | 0 |  | 0
[7 empty] | 0 |  | 0
[7 empty] | Total Fixture Volume |  | Proceptor Sizing to meet 100 ppm
Dishwasher Make & Model
| Number of washes per hour |  |  | Dishwasher Peak Rate of Drain Flow (GPM) |  |  |  |  | 0
|  |  |  | (If unknown, 38 gpm standard) |  |  |  |  | Proceptor Dishwasher Sizing
[8 empty] | Total Proceptor Volume (Fixture + Dishwasher) | 0
Specific Jurisidiction Sizing Module
Complete Food Disposal Information ONLY if Required by Local Jurisdiction as part of sizing calculation
Is there a Food Disposer/Food Grinder?
Number of Seats
Number of Meals Served at Peak Hour
Meals Served Per Day (Breakfast, Lunch, Dinner)
Waste produced per meal (gal) *refer to local code
| Hours of Operation (Storage Factor) | [5 empty] | Proceptor recommendation based on Activity |  | 0
Pipe Flow Sizing Module
If Fixture/Dishwasher Information Not Available
| Select pipe diameter |  | Based on flow rate at 1/4in slope and pipe diameter.
OLD pre 2006 UPC Code Sizing Module
UPC
Seating Capacity
Meal Factor
Waste Flow Rate
Retention Time
Storage Factor
Florida Code Sizing Module
Florida
Restaurant |  |  |  | Other with Kitchen
| Restaurant Seats |  |  | Meals Served per day
| Waste |  |  | Waste Gallons
| Hours Open (Round up for half hours) |  |  | Load Factor
Load Factor
Proceptor Sizing Calculated Value
Select Grease Production Level |  |  | 1 | [5 empty] | N/A
Drain Down Time (depends on local code) | [8 empty] | Maximum value for calculation
1 min worst case scenario
| Proceptor Sized for Project |  | Size
Verify with local and state regulations as minimum sizing and calculations may differ.
Proceptor Grease Interceptor Sizes
|  | Proceptor GMC | High Performance (USGPM) | Standard Performance (USGPM) | Total Liquid Capacity (USG) | Grease Storage Capacity (USG) | Grease Storage Capacity (7LBS/USG) |  | Solids Storage (USG)
|  | 50 | 0 | 50 | 50 | 15 | 105 |  | 11
|  | 100 | 20 | 90 | 100 | 30 | 210 |  | 20
|  | 150 | 30 | 110 | 150 | 79 | 553 |  | 54
|  | 200 | 40 | 130 | 200 | 103 | 721 |  | 78
|  | 250 | 50 | 155 | 250 | 127 | 889 |  | 153
|  | 300 | 60 | 175 | 300 | 152 | 1064 |  | 127
|  | 500 | 100 | 225 | 500 | 261 | 1827 |  | 174
|  | 750 | 150 | 295 | 750 | 345 | 2415 |  | 332
|  | 1000 | 200 | 350 | 1000 | 512 | 3584 |  | 425
|  | 1300 | 260 | 425 | 1300 | 652 | 4564 |  | 565
|  | 1500 | 300 | 500 | 1500 | 755 | 5285 |  | 667
|  | 2000 | 400 | 575 | 2000 | 1025 | 7175 |  | 850
|  | 2600 | 520 | 590 | 2600 | 1304 | 9128 |  | 1129
|  | 3000 | 600 | 780 | 3000 | 1509 | 10563 |  | 1334
|  | 4000 | 800 | 1040 | 4000 | 2210 | 15470 |  | 1415
|  | 5000 | 1000 | 1300 | 5000 | 2733 | 19131 |  | 1938
|  | 6000 | 1200 | 1560 | 6000 | 3256 | 22792 |  | 2462
|  | 7000 | 1350 | 1755 | 7000 | 3721 | 26047 |  | 2927
|  | 8000 | 1500 | 1950 | 8000 | 4404 | 30828 |  | 2926
|  | 9000 | 1650 | 2145 | 9000 | 4991 | 34937 |  | 3416
|  | 10000 | 1800 | 2340 | 10000 | 5382 | 37674 |  | 3908
Dimensions of each compartment (Inches)

## Sheet2
Yes/No | Grease Production Level | Pipe Size | UPC Meal Factor | UPC Waste Flow Rate (USG) | UPC Retention Time (Hr) | UPC Storage Factor (Hrs Open) | FL-Waste | FL-Load Factor | FL Other Kitchen Load
Yes | Light | 3in Pipe | Fast Food (1.33) | With Dishwasher (6) | With Dishwasher (2.5) | 8 Hrs (1.0) | China/Dishwasher (25) | Interstate Highway (2.00) | With Dishwasher (1.00)
No | Normal | 4in Pipe | Restaurant (1.00) | No Dishwasher (5) | Single Serve (1.5) | 12 Hrs (1.5) | Paper/No Dishwasher (10) | Other Freeways (1.50) | No Dishwasher (0.75)
| Heavy | 6in Pipe | Leisure (0.67) | Single Serve (2) |  | 16 Hrs (2.0) |  | Recreational Area (1.25)
|  |  | Dinner Club (0.50) | Food Waste Disposal Only (1) |  | 24 Hrs (3.0) |  | Main Highway (1.00)
[6 empty] | Single Serve (1.5) |  | Other Highway (0.75)