- Section 102113.13 
Metal Toilet Compartments

PART 1  GENERAL

SECTION INCLUDES

Metal toilet compartments.

<< Urinal; and  Vestibule>> screens.

Shower compartments.

RELATED REQUIREMENTS

Section 051200 - Structural Steel Framing:  Concealed steel support members.

Section 055000 - Metal Fabrications:  Concealed steel support members.

Section 061000 - Rough Carpentry:  Blocking and supports.

Section 102800 - Toilet, Bath, and Laundry Accessories.

Section ______-____________:  Shower compartment construction.

REFERENCE STANDARDS

ASTM A424/A424M - Standard Specification for Steel, Sheet, for Porcelain Enameling; 2018.

ASTM A653/A653M - Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process; 2023.

ASTM A666 - Standard Specification for Annealed or Cold-Worked Austenitic Stainless Steel Sheet, Strip, Plate, and Flat Bar; 2023.

ADMINISTRATIVE REQUIREMENTS

Coordination:  Coordinate the work with placement of support framing and anchors in walls and ceilings.

SUBMITTALS

See Section 013000 - Administrative Requirements, for submittal procedures.

Shop Drawings:  Indicate partition plan, elevation views, dimensions, details of << wall;  floor; and  ceiling>> supports, door swings.

Product Data:  Provide data on panel construction, hardware, and accessories.

Samples:  Submit << two; or  _______>> samples of partition panels, ____x____ inch (____x____ mm) in size illustrating panel finish, color, and sheen.

Manufacturer's Installation Instructions:  Indicate << special procedures;  perimeter conditions requiring special attention; and  ________>>.

PART 2  PRODUCTS

MANUFACTURERS

Metal Toilet Compartments:

Hadrian​<< ; Hadrian - Standard Series - Powder Coated;  ; Hadrian - Standard Series - Stainless;  ; _____; or  None - N/A>>​:  www.hadrian-inc.com/#sle.

Substitutions:  << Section 016000 - Product Requirements; or  Not permitted>>.

MATERIALS

Steel Sheet:  Hot-dipped galvanized steel sheet, ASTM A653/A653M, with << G90/Z275;  G60/Z180; or  ______>> coating.

Steel Sheet<< for Porcelain Enameling; or  None - N/A>>:  ASTM A424/A424M, Type I, Commercial Steel.

Stainless Steel Sheet:  ASTM A666, Type 304.

COMPONENTS

Toilet Compartments:  << Powder coated;  Baked enamelled or powder coated;  Stainless;  Porcelain enamelled; or  ______>> steel, << floor-mounted unbraced;  floor-mounted headrail-braced;  floor-to-ceiling;  ceiling-hung;  wall-hung; or  ______>>.

Doors, Panels, and Pilasters:  Sheet steel faces, pressure bonded to sound-deadening core, corners made with corner clips or mitered, welded, and ground smooth.

Panel Faces:  << 22 gauge, 0.0299 inch (0.76 mm);  20 gauge, 0.0359 inch (0.91 mm); or  ____ gauge, ___ inch (____ mm)>>.

Door Faces:  << 22 gauge, 0.0299 inch (0.76 mm);  20 gauge, 0.0359 inch (0.91 mm); or  ____ gauge, ___ inch (____ mm)>>.

Pilaster Faces:  << 22 gauge, 0.0299 inch (0.76 mm);  20 gauge, 0.0359 inch (0.91 mm);  18 gauge, 0.0478 inch (1.21 mm);  16 gauge, 0.0598 inch (1.52 mm); or  ____ gauge, ___ inch (____ mm)>>.

Reinforcement:  << 12 gauge, 0.1046 inch (2.66 mm); or  ___ gauge, ___ inch (____ mm)>>.

Internal Reinforcement:  Provide in areas of attached hardware and fittings.  Mark locations of reinforcement for partition mounted washroom accessories.

Door and Panel Dimensions:

Thickness:  << 1 inch (25 mm); or  ____ inch (____ mm)>>.

Door Width:  << 24 inches (610 mm); or  ____ inches (____ mm)>>.

Door Width for Handicapped Use:  << 36 inch (915 mm); or  ____ inch (______ mm)>><< , out-swinging; or  None - N/A>>.

Height:  << 58 inches (1473 mm);  63-1/2 inches (1613 mm);  72 inches (1829 mm); or  ____ inches (____ mm)>>.

Pilasters:   1-1/4 inch (32 mm) thick, of sizes required to suit compartment width and spacing.

<< Urinal; and  Vestibule>> Screens:  Wall mounted with << two; or  ____>> panel brackets, and floor-to-ceiling vertical upright consisting of << pilaster; or  tubular headrail stock and sockets>> anchored to floor and ceiling.

Urinal Screen Splash Panels:  Stainless steel sheet << 30 inch (76 mm); or  ____ inch (____ mm)>> wide by << 42 inch (1,066 mm); or  ____ inch (____ mm)>> high  mounted on partitions adjacent to urinals.  Fasten with stainless steel screws spaced << 8 inches (20 mm); or  ____ inches (____ mm)>> on center.

ACCESSORIES

Pilaster Shoes:  Formed << ASTM A666 Type 304 stainless steel with No.4 finish;  ASTM A666 Type 304 stainless steel with ____ finish;  chromed steel with polished finish;  chromed steel with satin finish; or  _______>>, << 3 inches (175 mm); or  ____ inches (____ mm)>> high, concealing << floor; and  ceiling>> fastenings.

Provide adjustment for floor variations with screw jack through steel saddles integral with pilaster.

Provide ceiling attachment using << two; or  ___>> adjustable hanging studs, attached to above-ceiling framing.

Head Rails:  Hollow << anodized aluminum;  stainless steel; or  _____>> tube, << 1 by 1-5/8 inches (25 by 41 mm); or  ____ by ____ inches (____ by ____ mm)>> in size, with<<  anti-grip strips and;    _____; or  None - N/A>> cast socket wall brackets.

Brackets:  << Polished chrome-plated non-ferrous cast metal;  Polished stainless steel;  Satin chrome-plated non-ferrous cast metal;  Satin stainless steel;  Anodized aluminum, ________ color;  Anodized aluminum, color as selected; or  _______>>.

Attachments, Screws, and Bolts:  << Chrome-plated steel;  Stainless steel; or  _____>><< , tamper-proof type;  , _____; or  None - N/A>>.

For attaching panels and pilasters to brackets:  Through-bolts and nuts << ; tamper proof; or  None - N/A>>.

Hardware:  << Polished; or  Satin>><< chrome plated non-ferrous cast metal;  stainless steel; or  ______>>:

Pivot hinges, gravity type, adjustable for door close positioning; two per door.

Nylon bearings.

Thumb turn or sliding door latch<<  with exterior emergency access feature; or  None - N/A>>.

Door strike and keeper with rubber bumper; mounted on pilaster in alignment with door latch.

Coat hook with rubber bumper; one per compartment, mounted on << door; or  panel>>.

Provide door pull for outswinging doors.

FINISHING

<< Powder-Coated ;  _____  ; or  None - N/A>>Steel Compartments:  Manufacturer's standard process. Clean, degrease, and neutralize.

<< Baked Enamel ;  _____  ; or  None - N/A>>Steel Compartments:  Manufacturer's standard process. Clean, degrease, and neutralize. Follow immediately with phosphatizing treatment, prime coat, and two finish coats.

Color:  << _______;  Single color as selected; or  Two colors as selected>>.

Colors:  << ________; or  Color as selected>> for << door; or  ________>>; << ________; or  color as selected>> for << panels;  pilasters; and  ________>>.

Stainless Steel Compartments:  << No. 4; or  ____>> finish.

PART 3  EXECUTION

EXAMINATION

Verify existing conditions before starting work.

Verify that field measurements are as << indicated;  indicated on shop drawings;  instructed by the manufacturer; or  _____>>.

Verify correct spacing of and between plumbing fixtures.

Verify correct location of built-in framing, anchorage, and bracing.

INSTALLATION

Install partitions secure, rigid, plumb, and level in accordance with manufacturer's instructions.

Maintain << 3/8 to 1/2 inch (9 to 13 mm); or  ________ inch (________ mm)>> space between wall and panels and between wall and end pilasters.

Attach panel brackets securely to walls using anchor devices.

Attach panels and pilasters to brackets.  << Locate head rail joints at pilaster center lines.; or  None - N/A>>

Field touch-up of scratches or damaged enamel finish will not be permitted.  Replace damaged or scratched materials with new materials.

TOLERANCES

Maximum Variation From True Position:  << 1/4 inch (6 mm); or  ____ inch (____ mm)>>.

Maximum Variation From Plumb:  << 1/8 inch (3 mm); or  ____ inch (____ mm)>>.

ADJUSTING

Adjust and align hardware to uniform clearance at vertical edge of doors, not exceeding 3/16 inch (5 mm).

Adjust hinges to position doors in << partial opening; or  full closed>> position when unlatched.  Return out swinging doors to closed position.

Adjust adjacent components for consistency of line or plane.

SCHEDULES

Toilet Room 204:  Three toilet stalls of floor mounted, head rail braced type; two urinal screens with pilaster bracing; two contrasting colors as selected.

Staff Washroom:  One toilet stall of ceiling mounted type; single color as selected.

- END OF SECTION