- Section 102113.19 
Plastic Toilet Compartments

PART 1  GENERAL

SECTION INCLUDES

Solid plastic toilet compartments.

Solid surface toilet compartments.

Urinal<<  and vestibule;    ______; or  None - N/A>> screens.

RELATED REQUIREMENTS

Section 051200 - Structural Steel Framing:  Concealed steel support members.

Section 055000 - Metal Fabrications:  Concealed steel support members.

Section 061000 - Rough Carpentry:  Blocking and supports.

Section 102800 - Toilet, Bath, and Laundry Accessories.

Section __________:  Shower compartment construction.

REFERENCE STANDARDS

ASTM A666 - Standard Specification for Annealed or Cold-Worked Austenitic Stainless Steel Sheet, Strip, Plate, and Flat Bar; 2023.

ASTM E84 - Standard Test Method for Surface Burning Characteristics of Building Materials; 2023d.

NFPA 286 - Standard Methods of Fire Tests for Evaluating Contribution of Wall and Ceiling Interior Finish to Room Fire Growth; 2024.

ADMINISTRATIVE REQUIREMENTS

Coordination:  Coordinate the work with placement of support framing and anchors in walls and ceilings.

SUBMITTALS

See Section 013000 - Administrative Requirements, for submittal procedures.

Product Data:  Provide data on panel construction, hardware, and accessories.

Shop Drawings:  Indicate partition plan, elevation views, dimensions, details of << wall;  floor; and  ceiling>> supports, door swings.

Samples:  Submit << two; or  _______>> samples of partition panels, ____by____ inch (____by____ mm) in size illustrating panel finish, color, and sheen.

Manufacturer's Installation Instructions:  Indicate << special procedures;  perimeter conditions requiring special attention; and  ________>>.

PART 2  PRODUCTS

MANUFACTURERS

Solid Plastic Toilet Compartments:

Hadrian<< ; Hadrian - Standard Series - Plastic;  ; _____; or  None - N/A>>:  www.hadrian-inc.com/#sle.

__________.

Substitutions:  << Section 016000 - Product Requirements; or  Not permitted>>.

Solid Surface Toilet Compartments:

DuPont Corian<< ; Privacy Plus Partitions;  ; _____; or  None - N/A>>:  www.privacypluspartitions.com/#sle.

__________.

__________.

Substitutions:  << Section 016000 - Product Requirements; or  Not permitted>>.

PLASTIC TOILET COMPARTMENTS

Solid Plastic Toilet Compartments:  Factory fabricated doors, pilasters, and divider panels made of solid molded high density polyethylene (HDPE)<< , tested in accordance with NFPA 286;  , tested in accordance with _____; or  None - N/A>>; << floor-mounted unbraced;  floor-mounted headrail-braced;  floor and ceiling anchored;  ceiling-hung; or  ______>>.

Color:  << ________;  Single color as selected; or  Two colors as selected>>.

Colors:  << ________; or  Color as selected>> for << doors; or  ________>>, << ________; or  color as selected>> for << panels;  pilasters; and  ________>>.

Doors:

Thickness:  << 1 inch (25 mm); or  ____ inch (____ mm)>>.

Width:  << 24 inch (610 mm); or  ____ inch (____ mm)>>.

Width for Handicapped Use:  << 36 inch (915 mm); or  ____ inch (______ mm)>><< , out-swinging; or  None - N/A>>.

Height:  << 55 inch (1397 mm); or  ____ inch (____ mm)>>.

Panels:

Thickness:  << 1 inch (25 mm); or  _____ inch (_____ mm)>>.

Height:  << 55 inch (1397 mm); or  ____ inch (____ mm)>>.

Depth:  As indicated on drawings.

Pilasters:

Thickness:  << 1 inch (25 mm); or  _____ inch (_____ mm)>>.

Width:  As required to fit space; minimum << 3 inch (76 mm); or  _____ inch (_____ mm)>>.

Screens:  Without doors; to match compartments; mounted to wall with << two; or  ____>> panel brackets<< with vertical support/bracing same as compartments;    _______; or  None - N/A>>.

Solid Surface Toilet Compartments:  Factory fabricated doors, pilasters, and divider panels made of acrylic polymer resin, mineral filler, and pigment<< , tested in accordance with ASTM E84;  , tested in accordance with _____; or  None - N/A>>; << floor-mounted unbraced;  floor-mounted headrail-braced;  floor and ceiling anchored;  ceiling-hung; or  ______>>.

Color:  << ________;  Single color as selected; or  Two colors as selected>>.

Colors:  << ________; or  Color as selected>> for << doors; or  ________>>, << ________; or  color as selected>> for << panels;  pilasters; and  ________>>.

Doors:

Thickness:  << 1 inch (25 mm); or  ____ inch (____ mm)>>.

Width:  << 24 inch (610 mm); or  ____ inch (____ mm)>>.

Width for Handicapped Use:  << 36 inch (915 mm); or  ____ inch (______ mm)>><< , out-swinging; or  None - N/A>>.

Height:  << 55 inch (1397 mm); or  ____ inch (____ mm)>>.

Panels:

Thickness:  << 1/2 inch (13 mm); or  _____ inch (_____ mm)>>.

Height:  << 55 inch (1397 mm); or  ____ inch (____ mm)>>.

Depth:  As indicated on drawings.

Pilasters:

Thickness:  << 1 inch (25 mm); or  _____ inch (_____ mm)>>.

Width:  As required to fit space; minimum << 3 inch (76 mm); or  _____ inch (_____ mm)>>.

Screens:  Without doors; to match compartments; mounted to wall with << two; or  ____>> panel brackets<< with vertical support/bracing same as compartments;    _______; or  None - N/A>>.

ACCESSORIES

Pilaster Shoes:  << Stainless steel, satin finish;  Plastic, to match compartments;  Solid surface, to match compartments; or  _______>>, << 3 inches (76 mm); or  ___ inches (___ mm)>> high; concealing << floor;  ceiling; and  _____>> fastenings.

Provide adjustment for floor variations with screw jack through steel saddles integral with pilaster.

Provide ceiling attachment using << two; or  ___>> adjustable hanging studs, attached to above-ceiling framing.

Head Rails:   << Extruded aluminum;  Steel clad with solid surface material; or  _____>>,<<  anti-grip profile;    _____; or  None - N/A>>.

Size:  << Manufacturer's standard size;  1 inch by 1-1/2 inch (25 mm by 38 mm); or  ____ inch by ____ inch (____ mm by ____ mm)>>.

<< Wall;  Pilaster; and  _____>> Brackets:  << Stainless steel;  Anodized aluminum; or  ______>>; << manufacturer's standard type for conditions indicated on drawings;  continuous type; or  _____>>.

Attachments, Screws, and Bolts:  Stainless steel << , tamper proof type; or  None - N/A>>.

For attaching panels and pilasters to brackets:  Through-bolts and nuts << ; tamper proof; or  None - N/A>>.

Hinges:  << Stainless steel;  Anodized aluminum;  Chromium-plated brass; or  _____>><< , manufacturer's standard finish;  ; satin finish; or  ; _____ finish>>.

Pivot hinges, gravity type, adjustable for door close positioning; two per door.

Continuous-type hinge, self closing.

Door Hardware:  << Stainless steel;  Anodized aluminum;  Chromium-plated brass; or  _____>><< , manufacturer's standard finish;  ; satin finish; or  ; _____ finish>>.

Door Latch:  << Slide type;  Thumbturn type; or  ______>><<  with exterior emergency access feature;    with _____; or  None - N/A>>.

Door Strike and Keeper with Rubber Bumper:  Mount on pilaster in alignment with door latch.

Provide door pull for outswinging doors.

Coat Hook<< with Rubber Bumper; or  None - N/A>>:  One per compartment, mounted on << door;  panel; or  _____>>.

Toilet Partition Suspension Members:  As specified in Section 055000.

PART 3  EXECUTION

EXAMINATION

Verify that field measurements are as << indicated;  indicated on shop drawings; or  instructed by the manufacturer>>.

Verify correct spacing of and between plumbing fixtures.

Verify correct location of built-in framing, anchorage, and bracing.

INSTALLATION

Install partitions secure, rigid, plumb, and level in accordance with manufacturer's instructions.

Maintain << 3/8 inch to 1/2 inch (9 mm  to 13 mm); or  ____ inch to ____ inch (____ mm to ____ mm)>> space between wall and panels and between wall and end pilasters.

Attach panel brackets securely to walls using anchor devices.

Attach panels and pilasters to brackets.  << Locate head rail joints at pilaster center lines.; or  None - N/A>>

Field touch-up of scratches or damaged finish will not be permitted.  Replace damaged or scratched materials with new materials.

TOLERANCES

Maximum Variation From True Position:  << 1/4 inch (6 mm); or  ____ inch (____ mm)>>.

Maximum Variation From Plumb:  << 1/8 inch (3 mm); or  ____ inch (____ mm)>>.

ADJUSTING

Adjust and align hardware to uniform clearance at vertical edge of doors, not exceeding 3/16 inch (5 mm).

Adjust hinges to position doors in << partial opening;  full closed; or  _____>> position when unlatched.  Return out-swinging doors to closed position.

Adjust adjacent components for consistency of line or plane.

SCHEDULES

Toilet Room 204:  Three toilet stalls of floor mounted, head rail braced type; two urinal screens with pilaster bracing; two contrasting colors as selected.

Staff Washroom:  One toilet stall of ceiling mounted type; single color as selected.

- END OF SECTION